**Point Protection for Division Zulu**

See MAPs, (Management Action Points) on the Division Zulu Point Protection Map for initiation of action protections. MAPs are meant as a guideline but in the case of extreme fire conditions protection action should be taken earlier.

* Cove Cabin MAP: Cove Cabin should be wrapped, and the cabin protection hose lay kit set up and turned on. Burn out around the cabin if fire is imminent.
* Grand Loop MAP: Picnic tables at Spring Creek, DeLacy Creek, and Divide Picnic Areas should be removed. Larger signs on the Division Z Point Protection map should be wrapped from Old Faithful to the Divide Picnic Area should be wrapped. Sites are indicated on the point protection map.
* Old Faithful MAP: The log storage building at the Water Treatment center should be wrapped and the hose lay kit turned on. Burn out along FZ1 when the fire is imminent.