This is a field reconnaissance report for 6/18/07 and 6/19/07.  The following information is in correlation with GPS features taken at the area of concern. Each GPS feature has an attribute table that includes comments about the site, coordinates, and data collection information, etc…

On 6/18/07 Dennis Law and Jason Jennings meet with Ken Luckow and Dennis Martin. We reviewed areas on the Sweat Farm Road Fire that the Georgia Forestry Commission is working on.  Currently they are using a band aid approach for a temporary fix.  Their plan is to return to these areas at a later date to finish.  They are removing debris from the drainage areas and pushing the pile to the uplands.  We do not recommend that the U.S Fish and Wildlife Service take this approach in implementing restoration work. We recommend that implementation is completed and accurate with one entry to reduce further impacts to wetlands and floodplains.

Feature

1: Private land- what not to do. 6 culverts where built higher than stream. Road build about 12 feet from ditch to top of road.

2-4: Culverts replacement and/or cleared or extend.

5: Cane Creek at swamp edge break. Someone has already flagged out the stream channel. Channel destroyed by fireline. Possible several channels need to be reshaped.

6:  Soil/debris piles- pull soil and debris piles.  Use debris for possible biomass.  This will allow normal surface water flow thru the wetland areas.

7:  Soil/debris piles- same as feature 6.

8:  Soil/debris piles- blocking natural drainage flow. 3 firelines lead go in separate directions through wetlands.

9:  Soil/debris piles- Large woody debris, moist to wet site.  Open up natural drainage flow across landscape. (2 firelines at this location)

10: Thick debris piles with thick layer of litter, duff, and humus layers. Debris is blocking natural drainage.  2 firelines at this point lead into the fire boundary and should be revisited after fire activity in this area decreases. These lines seem to be going into wetlands.

11: Soil/debris piles- Not a lot of materials in wetlands.  Remove soil/debris piles. This is a low priority area.

12:  Clean out ditch lines and soil/debris piles on both sides of the road.

13: Water is ponding on both sides of road.  There is a large drain on both sides of road.  Assess this area for installing a culvert to allow normal surface water flow.

Note:  Intersection of Dinkins road and swamp edge break work has been completed.  This area looks good and there should be no need for more restoration work.  The debris on the swamp edge could possibly be used for biomass.

On 6/19/07 we meet with Ken Luckow at the intersection of Hamp Mizell road and Perimeter road.  Firelines west of Perimeter road were pushed in the main channel of Swanee creek and in smaller drainages adjacent to the creek.  There are trees, root balls, and soil piles within the channels. This debris will alter the hydrology of Suwannee creek by blocking several smaller drainages.  This debris will also build up at the perimeter road bridge. This drainage is one of the main sources of water to the Okefenokee Swamp.  Debris may also affect the stream gauging station present in the creek channel.  Feature 13 from 6/18/07 is also present within this drainage area. To ensure treatment methods were effective in restoring natural water flow to the swamp this area should be monitored.

Features

1: Floodplain adjacent to Suwannee Creek- about 75% of hardwoods have been affected by the fire. Trees have fallen on the ground because of fire consuming the duff, humus, tree roots, and most of organic material within the soil surface layer. Monitoring will be needed done to make sure debris does not fill the stream channel. The vegetative community within this area will return to an early successional species.  (Check for wilderness boundary)

2: Brood floodplain with creek in the center- Trees are 75% down on the ground. Unsafe to walk thru due to standing snags.  This area is similar as feature 1. (Check for wilderness boundary)

3: Clean debris/soil from drain.

4:  Trees fallen in creek as result of fire burning down thru the soil. (Suwannee Creek check for wilderness, possible BAER). Areas not wilderness remove trees from creek.

5: Culvert smashed on one side and other end is covered with soil.  This damage is not directly related to fire suppression. Increased traffic due to the fire required more road maintenance such as plowing/grading which could have resulted in the damage. Remove soil material from drainage. Replace the damaged culvert.

6: Dozer cleaning out natural drainage on west side of perimeter road.

7: Dozer had cleaned out area where 2 culverts were damaged to allow natural drainage flow.

8: Culverts- 3 culverts only one is found on one side the other ones are covered with soil. The one culvert is bent. Replace culvert.

9: Culverts- 2 culverts both sides are clogged with soil. Remove soil material from around culverts and drainage.

10: Culverts- 3 rusted out on one side and covered with soil on the side burned of road. Remove soil material and/or possibly replace rusted culverts.

11:  Culvert covered up on both sides of road with soil.  Increased traffic due to the fire required more road maintenance such as plowing/grading the road materials which increased the amount of soil material in the ditch line. Remove soil material from drainage.

12: Example of sediment/soil washing into drainage way that was burned and not pushed next to road.  Monitor to determine if drainage ways need further debris removal or drainage way functioning properly.  Heavy rainfall will cause under cutting of ditch.

13: Deleted

14: Ditch drainage clogged with debris for long distance. Also washing of soil materials from road berm into drainage way. Clean debris from around ditch and culvert, and remove large trees in ditch line.

15: Culvert covered up with soil blocking drainage to other side. Remove material blocking drainage.

6/21/07

Feature

- Clean drainage ditch- potato patching resulted in drainage ditches filling with sediment.

- Unusual amount of disturbance in this area. Do not understand the purpose of this practice. There is water and soil in the ditch line and the road will most likely be washed out with a 3” or more rain.

- At the culvert 300ft from wet spot. The windrows blocked the natural flow of water. Large puddles of water are causing severe problems next to both sides of the road.

- Replace culvert. One end is torn badly.  Firelines and road issues next to culvert.

- Potato patching and fresh graded road deposit lots of sediment in drainage ditch. Clean out sediment deposits.

- Potato patching; deposits on both sides of road. Remove soil materials out of ditchline.  Also replace damaged culvert.

- Remove the soil/debris piles out of debris pile (open pile to allow normal water flow). There are several locations on this section of fireline needing openings on debris piles to allow normal surface water flow.

- Remove soil/debris piles from drain; Lots of cypress and other hydrophitic vegetation in wet spot.

- Remove soil/debris piles from drain edges. Several wet spots between features 8 and 9 and 400ft around curve from feature 9.

- Lots of Potato patching preventing water from flowing down ditchline.  Clean soil deposits out of ditchline.

- Clean soil/debris out of ditchline.

- Soil/debris pile of the line. Large piles of debris need to be cleaned out of drain for about 600ft.

- Clean debris out of ditch lines on both sides of the road.

- Lots of potato patching blocking ditch. Soil/debris in ditchline is over 2000 feet longline.

- Soil/debris piles on fire line blocking the natural flow of water. Clean soil/debris out of all drains on fireline.

- Removed debris all the way to stream bank. Also debris piles need to be removed adjacent the stream bank (perpendicular). The fire line runs directly into stream.  Check to see if natural native grasses seed in on area.  If not, seed all soil exposed areas.

- Remove soil/debris piles and open natural drainages on both sides of road. Clean soil deposits from ditchline caused by potato patching.

- Replace metal culvert between feature 17 and this feature. Clean soil deposits from ditchline caused by potato patching.

- Replace damaged metal culvert.

- Area already had the soil/debris pushed back into fireline. Some areas still have some debris on areas blocking the natural flow of water. Several ruts also need to be smoothed to minimize the blocking of water flow.  The area is located on a flat swamp and may need to have about a 50ft opening in the center of the debris pile to allow normal surface water movement.

- Soil deposits for a long distance in ditchline resulting from potato patching.  Clean ditch lines on both sides of the road.

- Replace culvert- bent on both sides.

- Clean debris out of drain on west side of road.

- Ditchline had soil/debris deposits for a long distance on this road. Clean soil/debris out of ditchline.

- Replace culvert immediately. There is very little soil covering the culvert on the road.  There is also a hole in the top of the culvert in the middle of the road that is unsafe. Lots of disturbance and soil/debris located in ditchline.  Removed all soil/debris from ditchline.

- Lots of soil/debris materials washing into ditchline resulting from water washing road berm materials from roadbed.  Remove soil/debris from drainage.

- Already cleaned out debris out of drain. May need to seed bank area around treated site to minimize erosion and sediment washing into stream. Soil deposits are in ditchline for a long distance. Remove soil deposits from ditchline.

- Lots of soil deposits in ditchline for a long distance. Clean soil deposits out of ditchline.

- Water is on the road. The road is not build high enough to allow water to drain on both sides of road. A culvert should be installed to allow normal surface water flow to both side of road.

- Smooth out rutted area on fireline.  Also remove soil debris/piles from ditchline.

6/22/07

- Culvert is bent on one side and needs replacement.

- Culvert is bent on one side and needs replacement.

- Culvert bent on one side and partially functioning. Should monitor culvert to determine if it needs to be replaced.  Lots of soil material in drainage ditch that can easily clog culvert.

- Lots of debris/trees piled next to swamp edge break. These materials are excellent for biomass and some left on site to be disked into soil.

- More debris needs to be removed from stream channel. Also a culvert is blocked with soil. Remove soil deposits from culvert.

- Culvert bent and clogged on both sides. Replace culvert.

- Good biomass site. Mostly pine trees pulled from berm. Already treated for rehab. (rehab work looks good)

- Replace culvert – Culvert bent on both ends and clogged with soil materials.

- Good potential biomass materials on Colson rd. Good rehab work.

- Both culvert bent, cut, and covered with soil on one side. Replace culvert.

6/23/07

- Culvert clogged with soil materials. Clean out soil materials out of culvert and remove soil/debris deposits in ditch to allow normal water flow.

- This is about a 3 foot soil/debris pile that is not a high priority for removing debris materials to restore normal flow. Monitor to determine restoration needs.

- Clean soil/debris materials out of the ditch line.

4-6. Bay creek and red water small tributary with erosion from small road into creek from both directions. Some small fish located in side channel stream. The fire access route is partially blocked by debris and sediment. Debris needs to be cleaned out of drain to function correctly and stop the spread of water onto road and floodplain area. This area will need a better drainage plan developed to determine all small drains entering into Bay creek. This increases the natural functions of the drainageway and reduces direct entry of sediment into channel.

- Swamp Edge Break – Soil/debris piles are blocking the natural drainage way area on the firelines east of the entrance of Stephen C. Foster State Park.  Smooth all soil/debris piles back into fireline.

- Remove soil/debris piles to allow water flow.

- Hot burn area- Deep and wide ditch on both sides of road draining swamp. This practice is allowing water to drain away from swamp.  Monitor to determine affects and possible needed mitigation measures.

- Lots of potato patching and soil materials washing into ditchline.  Clean out soil materials in ditchline to allow normal surface water flow.

- Soil/debris piles- remove soil/debris piles to allow water to drain naturally into swamp.

- Remove soil/debris piles out of the ditch line and stream channel. There is some evidence of erosion on area.

- Remove soil/debris piles and open up channel to allow normal water flow.

- No culvert could be found. Clean out ditches.

- Clean out and smooth ditch line (sand).

- Replace bent culvert and clean out ditch line.

- Remove soil/debris piles to open up ditch line.

- Remove soil/debris piles out of drainageway and open up ditch line/remove debris.

- Remove soil/debris piles in fire line around curve where wetlands are located.

- Clean debris out of stream bank and open drain.

#16 Taken on air flight 6/22/07 ??

#18 Taken on air flight 6/22/07 ??

this information was written in the field notes not sure where they belong.